## Slide 1
Content
Level 1
Safety / Reliability
Level 2
Efficiency
Level 3
Flexibility/Sustainability
Full implementation of GIS
Remote voltage regulators, and capacitor banks
Implementation of Distribution Management System (DMS)
Outage Management System (OMS)
  Mobile Workforce Management System (MWMS)
Integration of Energy Storage System (ESS) and Electric Vehicle (EV) Charging Station
Distributed Energy Resources Integration and Energy Management Systems
Consumer Empowerment*
Interoperability and Cybersecurity
Telecommunications infrastructure
Distribution and Substation Automation
Advanced Distribution Management System (ADMS)
  Fault Location, Isolation, and Service Restoration (FLISR)
  Integrated Volt-Var Optimization (IVVO)
Full Distribution Automation
Full Substation Automation
Islanding
Level 4
Optimization
*Continuous program/s of Distribution Utilities aimed to engage active participation of customers educating and informing the benefits of Smart Grid
Physical Network Transformation
SCADA-Ready Reclosers
Sectionalizers
Load Break Switches
Fault Locators
SCADA System
  Remote Feeder Lines
  Remote Substation
Pilot Implementation of Geographic Information System (GIS)
Annex 1: Smart Distribution Utility Roadmap (SDUR)
Self-healing Grid
Full RCOA, RPS, GEOP and Net Metering Implementation
Full Customer Choice
Demand Response
Peak Load Management
Virtual Power Plants
Optimized ESS, EMS and DER Management System
Smart Homes and Cities
Smart Grid
Vision
Pilot Implementation for AMI
  Smart Meters
  Data Management System
  Data Center and Server
Scaling-up AMI deployments
Full deployment of AMI
Planning / Pre-deployment Stage for Advanced Metering Infrastructure (AMI)
Automated Meter Reading (AMR)
Level 0
Consider SG Plans and Program
Manually-operated Distribution Network System